IBL dataset types

| Title | Version | Last consented (Due for review) |
| --- | --- | --- |
| IBL dataset types | v0.0.0 | Never |
| Authors |  |  |
| Olivier Winter, Gaelle Chapuis, Niccolò Bonacchi, Miles Wells |  |  |
| Editors |  | Working Group |
|  |  | Data Architecture Working Group |
| Abstract |  |  |
| Explanation of some of the variables listed in PyBpod DatasetTypes |  |  |

Table of contents

Introduction to the IBL dataset	7

Introduction to ALF	7

Folder tree structure	7

How to get probe type	8

From spikeglx meta data file	8

From folder structure	8

How to load spike sorting data	9

Coordinate System Within Allen CCF	9

Computing response type using choice and stimulus side	11

Example	12

Aligning events to the onset of specific feedback type	12

Example	13

Spikes	14

spikes.amps	14

spikes.clusters	14

spikes.depths	15

spikes.samples	15

spikes.times	15

spikes.templates	16

Clusters	17

clusters.amps	17

clusters.depths	17

clusters.channels	18

clusters.metrics	18

clusters.probes	19

clusters.peakToTrough	19

clusters.uuids	19

clusters.waveforms	20

clusters.waveformsChannels	20

Drift Registration	21

drift.um	21

drift.times	21

drift_depths.um	22

Probes	22

probes.description	22

Channels	23

channels.localCoordinates	23

channels.probes	24

channels.rawInd	24

channels.mlapdv	24

channels.brainLocationIds_ccf_2017	25

Templates	26

template.amps	26

templates.waveforms	26

templates.waveformsChannels	27

Sample waveforms	27

_phy_spikes_subset.waveforms	27

_phy_spikes_subset.channels	28

_phy_spikes_subset.spikes	28

Raw Synchronization Data	29

_ibl_experiment.description	29

_*_DAQdata.raw	29

_*_DAQdata.timestamps	30

_*_DAQdata.meta	30

_*_DAQdata.wiring	31

Raw Electrophysiology Data	31

_iblqc_ephysSpectralDensity.power	31

_iblqc_ephysSpectralDensity.freqs	32

_iblqc_ephysTimeRms.rms	32

_iblqc_ephysTimeRms.timestamps	33

_iblqc_ephysChannels.apRMS	33

_iblqc_ephysChannels.labels	33

_iblqc_ephysChannels.rawSpikeRates	34

_spikeglx_sync.channels	34

_spikeglx_sync.polarities	35

ephysData.raw.lf	35

ephysData.raw.ap	36

ephysData.raw.nidq	37

ephysData.raw.meta	37

ephysData.raw.sync	38

ephysData.raw.timestamps	38

ephysData.raw.wiring	39

Raw Behavior Data	40

audioOnsetGoCue.times_mic	40

_iblmic_audioSpectrogram.frequencies	40

_iblmic_audioSpectrogram.power	41

_iblmic_audioSpectrogram.times_mic	41

Trial Data	42

_ibl_trials.table	43

intervals	43

goCue_times	44

response_times	44

choice	45

stimOn_times	45

contrastLeft	45

contrastRight	46

feedback_times	46

feedbackType	47

rewardVolume	47

probabilityLeft	48

firstMovement_times	48

_ibl_trials.stimOff_times	49

_ibl_trials.quiescencePeriod	49

_ibl_subjectTrials.table	49

_ibl_subjectTraining.table	50

Trial Data (optogenetics)	51

_ibl_trials.laserStimulation	51

_ibl_trials.laserProbability	51

_ibl_trials.laserIntervals	52

Wheel Data	52

_ibl_wheel.position	52

_ibl_wheel.timestamps	53

_ibl_wheel.velocity	53

_ibl_wheelMoves.intervals	54

_ibl_wheelMoves.peakAmplitude	54

Camera Data	56

camera.times	56

camera.raw	56

_iblrig_*Camera.frame_counter	57

_iblrig_*Camera.GPIO	57

_iblrig_*Camera.frameData	58

camera.dlc	59

camera.ROIMotionEnergy	59

ROIMotionEnergy.position	60

camera.features	61

licks.times	61

Passive Data	63

Imaging Data (multi-photon calcium imaging)	65

mpci.times	65

mpci.badFrames	66

mpci.mpciFrameQC	66

mpciFrameQC.names	67

mpci.ROIActivityF	67

mpci.ROINeuropilActivityF	67

mpci.ROIActivityDeconvolved	68

mpciROIs.mpciROITypes	68

mpciROITypes.names	69

mpciROIs.cellClassifier	69

mpciROIs.masks	69

mpciROIs.neuropilMasks	70

mpciROIs.mlapdv	70

mpciROIs.brainLocationIds	71

mpciROIs.stackPos	71

mpciROIs.uuids	72

_suite2p_ROIData.raw	72

Raw Neuroimaging Data	72

imaging.frames	72

_ibl_rawImagingData.meta	73

referenceImage.raw	73

referenceImage.stack	74

referenceImage.meta	74

Imaging Data (widefield, photometry, etc.)	74

Widefield Data	76

Photometry Data	80

#### Introduction to the IBL dataset

The aim of the International Brain Laboratory (IBL) is to understand the brain functions underlying decision making. Understanding these processes is a problem with a scale and complexity that far exceed what can be tackled by any single laboratory and that demands computational theory to be interwoven with experimental design and analysis in a manner not yet achieved. To overcome these challenges, we have created a virtual laboratory, unifying a group of 22 highly experienced neuroscience groups distributed across the world.

The data consists of neurophysiological and behavior measurements acquired in mice, with the aim to record from the entire mouse brain across animals. Neuropixels probes are placed in the mouse brain whilst it performs a decision-making task. Various sensors are used to monitor the animal's performance and condition (e.g. cameras, humidity and temperature sensors, microphone etc. see https://elifesciences.org/articles/63711 for details). The data are acquired in various laboratories across the world, and are typically processed (using heavy algorithms such as e.g. Deep Lab Cut (https://github.com/DeepLabCut/DeepLabCut) for tracking points on video data; Kilosort (https://github.com/MouseLand/Kilosort) for detecting and sorting the spikes of cells on the ephys traces) locally before being sent to a centralized database (see https://www.biorxiv.org/content/10.1101/827873v3 for details).

These data are used by a large group of theoreticians and analysts across the globe, with the aim to uncover what are the sets of brain functions that guide decision-making.

#### Introduction to ALF

IBL datasets are typically saved into files that follow the ALF naming convention, a way of representing collections of related data files with a given directory and filename structure.  For more information, see the ALF reference page.

#### Folder tree structure

See the documentation on Data organisation .

#### How to get probe type

##### From spikeglx meta data file

from ibllib.io import spikeglx ap_file = '/mnt/Data/Subjects/ZM_1735/2019-08-01/001/raw_ephys_data.ap.bin' sr = spikeglx.Reader(ap_file) sr.version

Returns '3A' or '3B1' or '3B2'

##### From folder structure

from ibllib.io import spikeglx session_path = '/mnt/Data/Subjects/ZM_1735/2019-08-01/001/raw_ephys_data' spikeglx.get_neuropixel_version_from_folder(session_path)

Returns '3A' or '3B' as it's impossible to differentiate between 3B1 and 3B2

#### How to load spike sorting data

https://github.com/int-brain-lab/ibllib/blob/develop/examples/one/ephys/get_spikeData_and_brainLocations.py

TODO Explain spikesorting structure and relationship with histology

#### Coordinate System Within Allen CCF

Bregma is defined as Voxel ML-566, AP-540, DV-33 within the 10um volume of the Allen CCF mouse Atlas¹⁵

Coordinate System: A) Standard polar angles are used, alongside the standard [x,y,z] base. In total, an electrode trajectory registers 7 entries (3 angles, 3 coordinates, depth) to define a probe insertion. B) The coordinate system is aligned to the ML (x, Right: positive), AP (y, A: positive), DV (z, D: positive) stereotaxic axis and zeroed at Bregma. The boundaries for each angle are indicated. The roll is the

#### Computing response type using choice and stimulus side

Response type are: correct or incorrect.

3 variables are needed to compute it:

| Variable | Type | Definition |
| --- | --- | --- |
| _ibl_trials.choice | int64 | which choice was made in choiceworld: -1 (turn CCW), +1 (turn CW), or 0 (nogo) |
| _ibl_trials.contrastLeft | float64 | contrast of left-side stimulus (0...1) nan if trial is on other side |
| _ibl_trials.contrastRight | float64 | contrast of right-side stimulus (0...1) nan if trial is on other side |

CCW : counter-clockwise

CW  : clockwise

CW and CCW  indicate how the mouse turns the wheel (from the perspective of the mouse).

Thus, if the stimulus appears on the right side of the screen, and the mouse turns the wheel CCW, the response type is correct.

Similarly, if the stimulus appears on the right side of the screen, and the mouse turns the wheel CW, the response type is false.

##### Example

| Variable | Trials |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| choice | +1 (CW) | +1 (CW) | +1 (CW) | -1 (CCW) | -1 (CCW) | -1 (CCW) | 0 (nogo) | 0 (nogo) |
| contrastLeft | 0.5 | nan | nan | 1 | nan | nan | nan | 1 |
| contrastRight | nan | 1 | 0 | nan | 0.5 | 0 | 0 | nan |
| feedbackType | +1 | -1 | -1 | -1 | +1 | +1 | -1 | -1 |

#### Aligning events to the onset of specific feedback type

The feedback variable contains all types of feedback received by the animal (e.g. noise sound, reward).

When wanting to align events (e.g. spikes) to the onset of one specific type of feedback, make sure to select only the corresponding feedback times.

| Variable | Type | Definition |
| --- | --- | --- |
| _ibl_trials.feedbackType | int64 | Whether feedback is positive or negative in choiceworld (-1 for negative feedback, +1 for positive feedback, no_go trials receive negative feedback) |
| _ibl_trials.feedback_times | float64 | Time of feedback delivery (reward or not) in choiceworld - in absolute seconds, rather than relative to trial onset |

##### Example

| Variable | Trials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| _ibl_trials.feedbackType | +1 | 0 | +1 | -1 | 0 | +1 |
| _ibl_trials.feedback_times | 2.1 | 3.5 | 4.1 | 6.0 | 8.4 | 9.5 |
| REWARD | x |  | x |  |  | x |

REWARD trial ID 	: [1, 3, 6]

REWARD times	: [2.1, 4.1, 9.5]

#### Spikes

Collection: alf/probe00, alf/prob01, etc.

##### spikes.amps

Units: V

Type: double

Dimensions: [number of spikes]

Format: npy

Description: Amplitude of each spike (V)

##### spikes.clusters

Units: index

Type: int

Dimensions: [number of spikes]

Format: npy

Description: Cluster assignments for each spike (integers counting from 0). Can be used as direct indexing of the cluster.* attributes.

##### spikes.depths

Units: um

Type: double

Dimensions: [number of spikes]

Format: npy

Description: Depth along probe of each spike (µm; computed from waveform center of mass). 0 means probe tip, positive upwards.

##### spikes.samples

Units: seconds

Type: int

Dimensions: [number of spikes]

Format: npy

Description: Sample index of spikes in their own electrophysiology binary file.

##### spikes.times

Units: seconds

Type: float64

Dimensions: [number of spikes]

Format: npy

Description: Times of spikes (seconds, relative to experiment onset).

##### spikes.templates

Units: index

Type: int

Dimensions: [number of spikes]

Format: npy

Description: Detection template assignment for each spike (integers counting from 0). Can be used as direct indexing of the templates.* attributes.

#### Clusters

Collection: alf/probe00, alf/prob01, etc.

##### clusters.amps

Units: V

Type: double

Dimensions: [number of clusters]

Format: npy

Description: Average spike amplitude for the cluster (V)

##### clusters.depths

Units: µm

Type: double

Dimensions: [number of clusters]

Format: npy

Description: Depth along probe of each cluster (µm; computed from waveform center of mass). 0 means deepest site, positive means above this.

##### clusters.channels

Units: index

Type: int

Dimensions: [number of clusters]

Format: npy

Description: Channel assignments for each cluster (integers counting from 0). Refers to the channel that contains peak amplitude. Can be used as direct indexing of the channel.* attributes.

##### clusters.metrics

Units: N/A

Type: N/A

Dimensions: [number of clusters]

Format: csv

Description: Quality control metrics at the cluster level. Fields may vary but a basic subset includes: cluster_id, num_spikes, firing_rate, presence_ratio, presence_ratio_std, isi_viol, amplitude_cutoff, amplitude_std, ks2_label, ks2_contamination_pct.
Detailed description of each metric here: https://docs.google.com/document/d/1ba_krsfm4epiAd0zbQ8hdvDN908P9VZOpTxkkH3P_ZY/edit

##### clusters.probes

Units: index

Type: int

Dimensions: [number of clusters]

Format: npy

Description: Probe assignments for each cluster (integers counting from 0). Can be used as direct indexing of the probes.* attributes.

##### clusters.peakToTrough

Units: ms

Type: double

Dimensions: [number of clusters]

Format: npy

Description: Template waveform duration for the cluster. The duration is the time elapsed from peak to through (peak_sample - through_sample). Value can be negative if peak happens first (ms).

##### clusters.uuids

Units: int128

Type: UUIDv4

Dimensions: [number of clusters]

Format: csv

Description: Unique identifier assigned to each cluster when ALF files created and during manual curation.

##### clusters.waveforms

Units: V

Type: single

Dimensions: [number of clusters, number of time samples, number of selected channels]

Format: npy

Description: Waveform from spike sorting templates (stored as a sparse array, only for a subset of channels closest to the peak channel).

##### clusters.waveformsChannels

Units: Index

Type: int

Dimensions: [number of clusters, number of selected channels]

Format: npy

Description: Index of channels that are stored for each cluster waveform. Sorted by increasing distance from the maximum amplitude channel.

#### Waveforms

Collection: alf/probe00, alf/prob01, etc.

##### waveforms.templates

Units: uV

Type: single

Dimensions: [number of clusters, number of waveform channels, number of waveform samples]

Format: npy

Description: Median of up to 256 waveforms for each cluster. Usually the waveforms have 40 channels and 128 time samples.

##### waveforms.traces

Units: uV

Type: float16

Dimensions: [number of clusters, 256, 40, 128]

Format: npy

Description: Up to 256 waveforms from each cluster (NaNs if <256 available), with channel rephasing, bad channel interpolation, butterworth lowpass time filter, and spatial common average referencing applied.

##### waveforms.channels

Units: index

Type: int

Dimensions: [number of cluster * 256, 40]

Format: npz

Description: For each extracted waveform, the set of 40 channels around the peak trace which were extracted, based on a 200 micron radius.

##### clusters.metrics

Units: N/A

Type: N/A

Dimensions: [number of clusters * 256]

Format: pqt

Description: For each waveform, ordered by their assigned cluster, gives the sample index, peak channel, and assigned cluster. NaN rows if the cluster did not have 256 waveforms.

#### Drift Registration

##### drift.um

Units: um

Type: double

Dimensions: [ntimes, ndepths]

Format: npy

Description: "Result of the drift registration. 1D vector of drift estimation in um. A cell moving downwards relative to the probe will show as negative drift (ie. it overlays on the raster).

For non-rigid drift, 2D vector where the first dimension corresponds to the time of the estimation and the second dimension to the depth of the estimate (see the scale datasets)"

##### drift.times

Units: secs

Type: double

Dimensions: [ntime]

Format: npy

Description: Time of the probe corresponding to each of the drift matrix row.

##### drift_depths.um

Units: um

Type: double

Dimensions: [ntime]

Format: npy

Description: For non-rigid registration, depth corresponding to each of the drift matrix column.

#### Probes

##### probes.description

Units: N/A

Type: text

Dimensions: [number of probes]

Format: json

Description: JSON with one entry per probe containing label, model (3A, 3B1, 3B2),serial and raw_file_name.

import json with open(probe_description_file) as fid: probes_description = json.reads(fid.read())

#### Channels

Collection: alf/probe00, alf/prob01, etc.

##### channels.localCoordinates

Units: index

Type: float

Dimensions: [number of channels]

Format: npy

Description: relative to probe coordinate system (µm): x (first) dimension is on the width of the shank while (y) is the depth where 0 is the deepest site, and positive above this.

##### channels.probes

Units: index

Type: int

Dimensions: [number of channels]

Format: npy

Description: Probe assignments for each channel (integers counting from 0). Can be used as direct indexing for the probes.* attributes.

##### channels.rawInd

Units: index

Type: int

Dimensions: [number of channels]

Format: npy

Description: array of integers saying which index in the raw recording file (of its home probe) that the channel corresponds to (counting from zero). Can be used as direct indexing for the raw binary files (AP and LF).

##### channels.mlapdv

Units: µm

Type: double

Dimensions: [number of channels, 3]

Format: npy

Description: 3d location of the channels relative to bregma following ephys alignment - mediolateral; anterior-posterior; dorsoventral coordinates (um)

##### channels.brainLocationIds_ccf_2017

Units: Index

Type: int

Dimensions: [number of channels]

Format: npy

Description: Brain location id of channels following ephys alignment obtained from 25um resolution 2017 Allen Common Coordinate Framework

##### channels.labels

Units: N/A

Type: int

Dimensions: [number of channels]

Format: npy

Description: Bad channel detection outcome, 0 is good, 1 corresponds to dead or low amplitude channels, 2 corresponds to noisy channels, 3 corresponds to channels labeled as outside of the brain

#### Templates

Collection: alf/probe00, alf/prob01, etc.

##### template.amps

Units: V

Type: double

Dimensions: [number of templates]

Format: npy

Description: Average spike amplitude for the template (V)

##### templates.waveforms

Units: V

Type: single

Dimensions: [number of templates, number of time samples, number of selected channels]

Format: npy

Description: Waveform of automatic spike sorting templates (stored as a sparse array, only for a subset of channels closest to the peak channel)

##### templates.waveformsChannels

Units: Index

Type: int

Dimensions: [number of templates, number of selected channels]

Format: npy

Description: Index of channels that are stored for each template. Sorted by increasing distance from the maximum amplitude channel.

#### Sample waveforms

##### _phy_spikes_subset.waveforms

Units: V

Type: double

Dimensions: [number of spikes, number of time samples, number of selected channels]

Format: npy

Description: Sample waveform of spike traces extracted from raw data

##### _phy_spikes_subset.channels

Units: Index

Type: int

Dimensions: [number of spikes, number of selected channels]

Format: npy

Description: Index of channels that are stored for each sample spike waveform. Sorted by increasing distance from the maximum amplitude channel.

##### _phy_spikes_subset.spikes

Units: Index

Type: int

Dimensions: [number of spikes]

Format: npy

Description: Index of spikes

#### Raw Synchronization Data

The following datasets can be loaded and read by our automatic extraction pipeline.

##### _ibl_experiment.description

Units: N/A

Type: text

Dimensions: N/A

Format: yaml

Collection: N/A

Description: A list of acquisition devices and behaviour protocols, along with the data and sync file location.  The root keys are (devices, sync, task, procedures). An annotated example can be found here.

##### _*_DAQdata.raw

Units: voltes, samples, seconds

Type: float64

Dimensions: [nSamples, nch]

Format: bin, tdms, mat, npy

Collection: raw_sync_data, raw_widefield_data, raw_photometry_data, etc.

Description: The output of the DAQ software for a given device.  The namespace should identify the DAQ model or acquisition software, e.g. ‘mcc’, ‘ni’ or ‘timeline’. The file may contain timestamps and associated metadata, or this may be found in the below two optional datasets.

##### _*_DAQdata.timestamps

Units: seconds

Type: float64

Dimensions: nSamples

Format: npy

Collection: raw_sync_data, raw_widefield_data, raw_photometry_data, etc.

Description: The DAQ software timestamps for a given device.  The namespace should identify the DAQ model or acquisition software, e.g. ‘mcc’, ‘ni’ or ‘timeline’.

##### _*_DAQdata.meta

Units: N/A

Type: string

Dimensions: N/A

Format: json

Collection: raw_sync_data, raw_widefield_data, raw_photometry_data, etc.

Description: Associated DAQ metadata, such as input and output channel configurations. The metadata structure varies between namespaces.

##### _*_DAQdata.wiring

Units: N/A

Type: text

Dimensions: [channels, device_name]

Format: json

Collection: raw_widefield_data, raw_photometry_data, etc.

Description: A map of the channel IDs and their corresponding device label, e.g. {ai1: bpod}.  There are three root keys: ‘SYSTEM’, ‘SYNC_WIRING_DIGITAL’ and ‘SYNC_WIRING_ANALOG’.  The corresponding ‘SYSTEM’ value is a label such as ‘Widefield’.

#### Raw Electrophysiology Data

Collection: raw_ephys_data

##### _iblqc_ephysSpectralDensity.power

Units: V**2/Hz

Type: float32

Dimensions: [nfreqs, nch]

Format: npy

Description: Power Spectral Density for all channels (V**2/Hz).

##### _iblqc_ephysSpectralDensity.freqs

Units: Hz

Type: float32

Dimensions: [nfreqs]

Format: npy

Description: Frequency scale for the spectrogram (Hz).

##### _iblqc_ephysTimeRms.rms

Units: V

Type: float32

Dimensions: [ntwin, nch]

Format: npy

Description: RMS amplitude as a function of time (V)

##### _iblqc_ephysTimeRms.timestamps

Units: s

Type: float32

Dimensions: [ntwin]

Format: npy

Description: Time scale for the RMS amplitude as a function of time, relative to the raw binary ephys file (s).

##### _iblqc_ephysChannels.apRMS

Units: V

Type: float32

Dimensions: [nchan]

Format: npy

Description: Median RMS per channel from samples of raw [nch, 0] and destriped [nch, 1] ephys data (V). (ap: computed for the AP band)

##### _iblqc_ephysChannels.labels

Units: N/A

Type: int

Dimensions: [nchan]

Format: npy

Description: Labels of automatic bad channel detections (int) 0: ok, 1: dead or low amplitude, 2: noisy, 3: out of the brain.

##### _iblqc_ephysChannels.rawSpikeRates

Units: Hz

Type: float32

Dimensions: [nchan]

Format: npy

Description: Raw spike rate per channel without clustering or collision handling - for early stages raw electrophysiology data QC purposes. [Hz]

##### _spikeglx_sync.channels

Units: index

Type: int

Dimensions: [nsync_pulses]

Format: npy

Description: 0 based index corresponding to the raw file sync channel used [0-15 on 3A, 0-8 on 3B].

##### _spikeglx_sync.polarities

Units: sign [-1, 1]

Type: float32

Dimensions: [nsync_pulses]

Format: npy

Description: Polarity of detected front: 1: rising, -1 falling

##### ephysData.raw.lf

Units: samples

Type: int16

Dimensions: [number of samples, number of channels]

Format: flat binary (*.bin), or mtscomp compressed (*.cbin, *.ch)

Description: Raw electrophysiology data. Low Field Potential.

# the following examples will read and convert to Volts import spikeglx lf_file = "/path/to/my/_spikeglx_ephysData_g0_t0.imec1.lf.cbin" sr = spikeglx.Reader(lf_file) sr[0:10000] # this assumes you have 3 files on disk: # _spikeglx_ephysData_g0_t0.imec1.lf.cbin # _spikeglx_ephysData_g0_t0.imec1.lf.meta # _spikeglx_ephysData_g0_t0.imec1.lf.ch

Note: The sampling frequency can be accessed via  sr.fs  (cf SpikGLX doc)

##### ephysData.raw.ap

Units: samples

Type: int16

Dimensions: [number of samples, number of channels]

Format: flat binary (*.bin), or mtscomp compressed (*.cbin, *.ch)

Description: Raw electrophysiology data. Action Potential.

# the following examples will read and convert to Volts from ibllib.io import spikeglx ap_file = "/path/to/my/_spikeglx_ephysData_g0_t0.imec1.ap.cbin" sr = spikeglx.Reader(ap_file) sr[0:10000] # this assumes you have 3 files on disk: # _spikeglx_ephysData_g0_t0.imec1.ap.cbin # _spikeglx_ephysData_g0_t0.imec1.ap.meta # _spikeglx_ephysData_g0_t0.imec1.ap.ch

##### ephysData.raw.nidq

Units: samples

Type: int16

Dimensions: [number of samples, number of channels]

Format: flat binary (*.bin), or mtscomp compressed (*.cbin, *.ch)

Description: Raw electrophysiology data from the breakout box. Contains synchronization pulses from behaviour devices for 3B Neuropixel.

##### ephysData.raw.meta

Format: text

Description: Raw electrophysiology data support file containing acquisition information.

from ibllib.io import spikeglx metadata_file = "/path/to/my/_spikeglx_ephysData_g0_t0.imec1.lf.meta" spikeglx.read_meta_data(metadata_file)

##### ephysData.raw.sync

Units: s

Type: float64

Dimensions: [number of sync samples, 2]

Format: npy

Description: Synchronization for binary file: 2 columns giving self-time in seconds and reference time in seconds

##### ephysData.raw.timestamps

Units: samples/seconds

Type: float64

Dimensions: [number of sync samples, 2]

Format: npy

Description: 2 columns file containing time synchronisation information for the AP binary file: sample index in the first column and session time in the second column. Note that sample indices may not be integers

##### ephysData.raw.wiring

Format: json

Description: Description of wirings of the synchronization traces. Examples for 3A and 3B.

#### Raw Behavior Data

Collection: raw_behavior_data, raw_task_data_XX

##### audioOnsetGoCue.times_mic

Units: seconds

Type: double

Dimensions: [number of go Cues detected]

Format: npy

Description: GoCue Times extracted from microphone data (s), in the time reference of the microphone. If the extraction algorithm managed to align to the behaviour timing, another `_iblmic_onsetGoCue.times` file will be present.

##### _iblmic_audioSpectrogram.frequencies

Units: Hz

Type: double

Dimensions: [1, number of frequencies]

Format: npy

Description: Frequency scale of audio spectrogram from microphone (Hz).

##### _iblmic_audioSpectrogram.power

Units: Hz

Type: double

Dimensions: [number of time windows, number of frequencies]

Format: npy

Description: Audio spectrogram from microphone, power.

##### _iblmic_audioSpectrogram.times_mic

Units: s

Type: double

Dimensions: [number of time windows]

Format: npy

Description: Time of the middle sample of the time window (s). Relative to the microphone samples time.

#### Trial Data

Note: All times are in absolute seconds from session start.

Between trials there is a period of closed-loop grey screen between stimOff and trial start where no stimuli are presented and wheel movement is ignored.  This period is referred to as the inter-trial interval. After trial start (the first column of trials.intervals) the open-loop period of the trial begins where the wheel must be kept still.

Collection: alf

##### _ibl_trials.table

Units: various

Type: various

Dimensions: [number of trials, n]

Format: pqt

Description: A table of trial events, one per trial. Events include: intervals, goCue_times, response_times, choice, stimOn_times, contrastLeft, contrastRight, feedbaack_times, feedbackType, rewardVolume, probabilityLeft, firstMovement_times

Table column descriptions:

###### intervals

Units: seconds

Type: double

Dimensions: [number of trials, 2]

Description: 2 column array giving each trial’s start (i.e. beginning of quiescent period) and end (i.e. stimulus off + 500ms*) times of trials in universal seconds. As a DataFrame, this will be split into 2 columns, intervals_0 and intervals_1.

*Note that the minimum ITI is 500ms, however due to implementation there is also a significant variable delay between intervals (typically an ITI is around a second). Therefore the true ITI can be found by taking intervals[n+1, 0] - stimOff_times[n].

###### goCue_times

Units: seconds

Type: double

Dimensions: [number of trials]

Description: The start time of the go cue tone. This is the time the sound is actually played, that is, the command sent through soundcard sync was fed back into Bpod.  The go cue tone is a 100ms 5 kHz sine wave and occurs approximately at the time of stimulus onset.

###### response_times

Units: seconds

Type: double

Dimensions: [number of trials]

Description: The time at which a response was recorded.  This marks the end of the closed loop state in Bpod and occurs when either 60 seconds have elapsed since the go cue, or the rotary encoder reaches a position equivalent to the stimulus on the screen reaching + or - 35º azimuth.

In practice it corresponds to the end of the ‘closed loop’ bpod task in the IBL task.

###### choice

Units: sign [-1, 0, 1]

Type: int64

Dimensions: [number of trials]

Description: The response type registered for each trial where -1 corresponds to turning the wheel CCW, +1 turning CW, and 0 being a timeout (‘no-go’) where the wheel wasn’t moved to threshold within the 60 second time window.  See Computing response type using choice and stimulus side.

###### stimOn_times

Units: seconds

Type: double

Dimensions: [number of trials]

Description: The time at which the visual stimulus appears on the screen, as detected by the photodiode which is placed over the sync square that flips colour each time the screen is redrawn.

###### contrastLeft

Units: normalized

Type: double

Dimensions: [number of trials]

Description: The contrast of the stimulus that appears on the left side of the screen (-35º azimuth).  When there is a non-zero contrast on the right, contrastLeft == 0, when there is no contrast on either side (a ‘catch’ trial), contrastLeft == NaN.

###### contrastRight

Units: normalized

Type: double

Dimensions: [number of trials]

Description: The contrast of the stimulus that appears on the right side of the screen (35º azimuth).  When there is a non-zero contrast on the left, contrastRight == 0, when there is no contrast on either side (a ‘catch’ trial), contrastRight == NaN.

###### feedback_times

Units: seconds

Type: double

Dimensions: [number of trials]

Description: The time of feedback delivery. For correct trials this is the time of the valve TTL trigger command, for incorrect trials this is the time of the white noise output trigger.

###### feedbackType

Units: sign [-1, 1]

Type: int64

Dimensions: [number of trials]

Description: Whether the feedback was positive (+1) or negative (-1).  Positive feedback indicates a correct response rewarded with sugar water.  Negative feedback indicates a trial timeout or incorrect response followed by a white noise burst.

###### rewardVolume

Units: µl

Type: double

Dimensions: [number of trials]

Description: The volume of reward delivered on each trial.  On trials where feedbackType == -1, rewardVolume == 0.  The reward volume is typically within the range of 1.5 to 3 and should not change within a session.

###### probabilityLeft

Units: normalized

Type: double

Dimensions: [number of trials]

Description: Probability that the stimulus will be on the left-hand side for the current trial. The probability of right is 1 minus this.  For repeat trials (trainingChoiceWorld) the probability is N(bias,4), where bias is calculated using responses from the last 10 trials.  During biased blocks (biasedChoiceWorld) the probability may be 0.5, 0.8, or 0.2.

###### firstMovement_times

Units: seconds

Type: double

Dimensions: [number of trials]

Description: The time of the first detected movement of the trial with a sufficiently large amplitude.  To be counted, the movement must occur within the open-loop period, which starts just before the go cue* and ends at feedback time. A NaN value indicates that no movement was detected for that trial.

*The first movement onset is sometimes just before the cue, occurring in the gap between quiescence end and cue start, or during the quiescence period but sub-threshold. The movement is sufficiently large if it is greater than or equal to .1 radians. [Code]

##### _ibl_trials.stimOff_times

Units: seconds

Type: float

Dimensions: [number of trials]

Format: npy

Description: Time in seconds, relative to the session start, of the stimulus offset, as recorded by an external photodiode.

##### _ibl_trials.quiescencePeriod

Units: seconds

Type: float

Dimensions: [number of trials]

Format: npy

Description: The pre-stimulus quiescence period in seconds. The exact time for each trial is drawn from a truncated exponential, range 0.2-0.5 seconds.

##### _ibl_subjectTrials.table

Collection: aggregates/Subjects/{lab}/{Subject}/

Units: various

Type: various

Dimensions: [number of all trials, n]

Format: pqt

Description: Aggregate of all trials of one subject, aggregated from all sessions that have complete trials data. One row per trial, columns represent trial events and include all columns of _ibl_trials.table (intervals, goCue_times, response_times, choice, stimOn_times, contrastLeft, contrastRight, feedback_times, feedbackType, rewardVolume, probabilityLeft, firstMovement_times) plus information about the session the trial stems from ('session', 'session_start_time', 'task_protocol', 'protocol_number'), plus extra trials columns ('goCueTrigger_times', 'stimOnTrigger_times', 'stimFreezeTrigger_times', 'stimFreeze_times', 'stimOffTrigger_times', 'stimOff_times', 'phase', 'position', 'quiescence').

##### _ibl_subjectTraining.table

Collection: aggregates/Subjects/{lab}/{Subject}/

Units: various

Type: various

Dimensions: [number of training criteria reached, 2]

Format: pqt

Description: Overview of training status for subject, each row contains the date and session at which the subject reached different training criterion. Index is date, columns are training_status and session .

Possible status

['habituation', 'in training', 'trained 1a', 'trained 1b', 'ready4ephysrig',, 'ready4delay', 'ready4recording', ‘untrainable’, ‘unbiasable’, 'not_computed']

#### Trial Data (optogenetics)

Collection: alf

##### _ibl_trials.laserStimulation

Units: seconds

Type: float

Dimensions: [number of trials]

Format: npy

Description: Whether or not the laser was actuating during the trial (outcome): 0:no laser, 1: laser, np.nan: no info.

##### _ibl_trials.laserProbability

Units: normalized

Type: float

Dimensions: [number of trials]

Format: npy

Description: Probability of the laser being actuating (prior).

##### _ibl_trials.laserIntervals

Units: seconds

Type: float

Dimensions: [number of trials, 2]

Format: npy

Description: Time in seconds, relative to the session start, of the onset and offset of the laser stimulation.

#### Optogenetic Data

Collection: alf

##### _ibl_laserStimulation.intervals

Units: seconds

Type: float

Dimensions: [number of events, 2]

Format: npy

Description: Time in seconds, relative to the session start, of the onset and offset of the laser stimulation.

#### chWheel Data

For information on working with wheel data, including calculating velocity and converting units, see this guide.

Collection: alf

##### _ibl_wheel.position

Units: radians

Type: double

Dimensions: [number of wheel ticks]

Format: npy

Description: Absolute unwrapped angle of the wheel from session start. The sign from the subject perspective corresponds to mathematical convention: counter clockwise is positive.

##### _ibl_wheel.timestamps

Units: seconds

Type: double

Dimensions: [number of wheel ticks]

Format: npy

Description: Time in seconds of the corresponding wheel event, relative to session start. Note that the wheel delivers a sample only when crossing a tick, which makes this time-serie very irregular.

##### _ibl_wheelMoves.intervals

Units: seconds

Type: double

Dimensions: [number of movements, 2]

Format: npy

Description: The onset and offset times of all detected movements.  Movements are defined as a wheel movement of at least 0.012 rad over 200ms.  For a rotary encoder of resolution 1024 in X4 encoding, this is equivalent to around 8 ticks.  Movements below 50ms are discarded and two detected movements within 100ms of one another are considered as a single movement.  For the onsets a lower threshold is used to find a more precise onset time.

##### _ibl_wheelMoves.peakAmplitude

Units: radians

Type: double

Dimensions: [number of movements]

Format: npy

Description: The absolute maximum amplitude of each detected wheel movement, relative to onset position.

#### Camera Data

##### camera.times

Units: seconds

Type: double

Dimensions: [number of frames]

Format: npy

Collection: alf

Description: Time in seconds of the corresponding frame, relative to session start.  These are the times of the camera TTL pulse during every frame capture.  There are three ALFs associated with this dataset: _ibl_leftCamera.times, _ibl_rightCamera.times and _ibl_bodyCamera.times.

##### camera.raw

Units: frames

Type: double

Dimensions: [1280 (640), 1024 (512), number of frames]

Format: mp4 (h.264)

Collection: raw_video_data

Description: The compressed video from the cameras. There are three ALFs associated with this dataset: _iblrig_leftCamera.raw, _iblrig_rightCamera.raw, and _iblrig_bodyCamera.raw.  The right side cameras will run at 150 Hz (spatial resolution 640 x 512) and the left side camera at 60 Hz (spatial resolution 1280 x 1024), the body camera at 30 Hz (spatial resolution 640 x 512)

##### _iblrig_*Camera.frame_counter

Units: number

Type: float64

Dimensions: [number of frames]

Format: bin

Collection: raw_video_data

Description: The frame counter from the camera hardware starts at arbitrary value. Saved as floating point 64 bits

##### _iblrig_*Camera.GPIO

Units: number

Type: float64

Dimensions: [number of frames]

Format: bin

Collection: raw_video_data

Description: The GPIO pin state from the camera hardware, saved as floating point 64 bits.

##### _iblrig_*Camera.frameData

Units: [

- UTC ticks from BehaviorPC,

- CameraTimestamps (Needs unclycling and conversion),

- Frame counter,

- GPIO pin state integer representation of 4 pins

]

Type: float64

Dimensions: [number of frames x 4]

Format: bin

Collection: raw_video_data

Description: Binary file of nframes X 4 columns storing the raw representation of:

Timestamp → UTC ticks from BehaviorPC (100's of ns since midnight 1/1/0001)     embeddedTimeStamp → Camera timestamp (Needs unclycling and conversion)               embeddedFrameCounter → Frame counter               		embeddedGPIOPinState → GPIO pin state integer representation of 4 pins

##### camera.dlc

Units: number

Type: float32

Dimensions: [number of frames, number of tracked points x 3]

Format: pqt

Collection: alf

Description: Coordinates of points tracked in the videos using DeepLabCut (DLC). Can be read with pandas.read_parquet. For each tracked point, the data frame contains a row each for the x coordinate, y coordinate, and likelihood over time. There are three ALF files associated with this dataset type: _ibl_leftCamera.dlc.pqt, _ibl_rightCamera.dlc.pqt, and _ibl_bodyCamera.dlc.pqt The number of tracked points is 11 for the left and right camera and 1 for the body camera.

##### camera.ROIMotionEnergy

Units: number

Type: float32

Dimensions: [number of frames]

Format: npy

Collection: alf

Description: The motion energy between the current frame and the subsequent frame, calculated within a ROI (see ROIMotionEnergy.position). There are three ALF files associated with this dataset type: leftCamera.ROIMotionEnergy.npy, rightCamera.ROIMotionEnergy.npy, and bodyCamera.ROIMotionEnergy.npy

##### ROIMotionEnergy.position

Units: number

Type: int64

Dimensions: [4,]

Format: npy

Collection: alf

Description: The coordinates of the region of interest (ROI) in which the camera.ROIMotionEnergy is calculated. The entries of this array are (w, h, x, y) where w and h are the width and height of the ROI in pixels, and x and y are the coordinates of the upper left corner pixel of the ROI. There are three ALF files associated with this dataset type: leftROIMotionEnergy.position.npy, rightROIMotionEnergy.position.npy, and bodyROIMotionEnergy.position.npy

CAUTION: As each software will load the video in a different orientation, the ROI might need to be adapted. For example, when loading the video with cv2 in Python, x and y axes are flipped from the convention used above. The ROI then is this box: [y:y+h, x:x+w]

##### camera.features

Units: number

Type: float32

Dimensions: [number of frames, number of features]

Format: pqt

Collection: alf

Description: Features computed from the dlc trace of each camera. Currently, this contains the raw and smoothed pupil Diameter (‘pupilDiameter_raw’ and ‘pupilDiameter_smooth’). As these are only available for left and right camera, there are currently two ALF files associated with this dataset type: _ibl_leftCamera.features.pqt and _ibl_rightCamera.features.pqt (but _ibl_bodyCamera.features.pqt might be added in the future).

##### licks.times

Units: number

Type: float32

Dimensions: [number of licks,]

Format: npy

Collection: alf

Description: Time stamps of licks as detected from tongue dlc traces. If left and right camera exist, the licks detected from both cameras are combined.

##### camera.lightningPose

Units: number

Type: float32

Dimensions: [number of frames, number of tracked points x 3]

Format: pqt

Collection: alf

Description: Coordinates of points tracked in the videos using LightningPose (LP). Can be read with pandas.read_parquet. For each tracked point, the data frame contains a row each for the x coordinate, y coordinate, and likelihood over time. There are three ALF files associated with this dataset type: _ibl_leftCamera.lightningPose.pqt, _ibl_rightCamera.lightningPose.pqt, and _ibl_bodyCamera.lightningPose.pqt The number of tracked points is 11 for the left and right camera and 1 for the body camera.

#### Passive Data

NB: All times are in absolute seconds from session start.

Passive protocol runs after ephys protocol description here.

_ibl_passivePeriods.intervalsTable*.csv

Units: seconds

Type: float64

Dimensions: [2, 4]

lines = ['start', 'stop']

columns = ['passiveProtocol', 'spontaneousActivity', 'RFM', 'taskReplay'],

Format: csv

Description: Table of times of different passiveCW periods.

_ibl_passiveRFM.times*.npy

Units: seconds

Type: float64

Dimensions: [nFrames]

Format: npy

Description: Interpolated times for all frame presentations in Receptive Field Mapping period.

_ibl_passiveGabor.table*.csv

Units: [seconds, seconds, visual degrees, [0, 1], [0, 2*Pi]

Type: float64

Dimensions: [nPresentations, 5]

lines = nPresentations = 180

columns = [start, stop, position, contrast, phase]

Format: csv

Description: Gabor patch presentations table of details of visual stimulus per presentation. Presentations with negative visual degrees appeared in the left visual hemifield; positive visual degrees, in the right.

_ibl_passiveStims.table*.csv

Units: seconds

Type: float64

Dimensions: [nRepeats, 6]

lines = nRepeats = 40

columns = [valveOn, valveOff, toneOn, toneOff, noiseOn, noiseOff]

Format: csv

Description: Onset and offset times of all other stimuli presented during the passiveCW protocol.

_iblrig_RFMapStim.raw*.bin

Units: color

Type: uint8

Dimensions: [nframes, nx, ny]

Where nx == ny == 15

Format: bin

Description: Raw receptive field mapping stimulus matrix.

#### Imaging Data (multi-photon calcium imaging)

Collection: alf/FOV_XX

##### mpci.times

Units: seconds

Type: float64

Dimensions: [nframes]

Format: npy

Description: The time of each frame. Note that there may be further offsets available for each scanline or pixel/voxel in the mpciStack.timeshift.npy dataset.

##### mpci.badFrames

Units: N/A

Type: boolean

Dimensions: [nframes]

Format: npy

Description: Bad frames as identified by processing software. Typically these are frames where the image registration was considered poor.

##### mpci.mpciFrameQC

Units: N/A

Type: uint8

Dimensions: [nframes]

Format: npy

Description: An enumeration of frame-level quality control as added by experimenter.  0 means good, other values defined in mpciFrameQC.names.tsv

##### mpciFrameQC.names

Units: N/A

Type: str

Dimensions: [nQCtypes, 2]

Format: tsv

Description: Human-readable definition of QC types. First column, 'qc_values', contains unsigned ints where 0 always should mean good. Second column, 'qc_labels', contains a short human-readable description.

##### mpci.ROIActivityF

Units: photodetector output units

Type: float32

Dimensions: [nFrames, nROIs]

Format: npy

Description: Mean activity of all pixels in each ROI.

##### mpci.ROINeuropilActivityF

Units: photodetector output units

Type: float32

Dimensions: [nFrames, nROIs]

Format: npy

Description: Mean activity neuropil pixels neighboring each ROI.

##### mpci.ROIActivityDeconvolved

Units: AU

Type: float32

Dimensions: [nFrames, nROIs]

Format: npy

Description: Neuropil-subtracted deconvolved activity of each ROI using standard parameters, which can be recovered from _suite2p_ROIData.raw.

##### mpciROIs.mpciROITypes

Units: N/A

Type: int16

Dimensions: [nROIs]

Format: npy

Description: Numerical enumeration of ROI type for each ROI.

##### mpciROITypes.names

Units: N/A

Type: str

Dimensions: [nROItypes, 2]

Format: tsv

Description: Human-readable definition of ROI types (neuron, dendrite, etc). First column, 'roi_values', contains the ROI type enumeration.  The second, 'roi_labels', contains a string description.

##### mpciROIs.cellClassifier

Units: N/A

Type: float64

Dimensions: [nROIs]

Format: npy

Description: Floating-point cell classifier score for each ROI, ranging between 0 and 1.

##### mpciROIs.masks

Units: AU

Type: float

Dimensions: [nROIs, H, W]

Format: sparse_npy

Description: Floating-point mask of each ROI, in 2D or 3D according to how you did detection. Saved as a sparse array. sum(roi_mask * frames[ypix,xpix,:]) = fluorescence

##### mpciROIs.neuropilMasks

Units: AU

Type: boolean

Dimensions: [nROIs, H, W]

Format: sparse_npy

Description: Boolean neuropil mask for each ROI, in 2D or 3D according to how you did detection. Saved as a sparse array.

##### mpciROIs.mlapdv

Units: um

Type: float64

Dimensions: [nROIs, 3]

Format: npy

Description: 3D location of the ROI centroid relative to bregma - mediolateral; anterior-posterior; dorsoventral coordinates (um). '_estimate' means not resolved with histology.

##### mpciROIs.brainLocationIds

Units: ID

Type: int32

Dimensions: [nROIs]

Format: npy

Description: Brain location acronym of each ROI centroid. A '_ccf_2017' in the dataset means an alignment obtained from 25um resolution 2017 Allen Common Coordinate Framework. '_estimate' means not resolved with histology.

##### mpciROIs.stackPos

Units: pixels

Type: int64

Dimensions: [nROIs, 3]

Format: npy

Description: Y, X, and Z (plane) pixel coordinates of each ROI's centroid.

##### mpciROIs.uuids

Units: int128

Type: UUIDv4

Dimensions: [nROIs]

Format: csv

Description: Unique identifier assigned to each ROI when ALF files created after ROI detection.

##### _suite2p_ROIData.raw

Format: zip of npy

Description: Raw cell detection output ROI data.

#### Raw Neuroimaging Data

Collection: raw_imaging_data_XX, raw_widefield_data

##### imaging.frames

Units: pixels

Type: uint8

Dimensions: [nframes, nx, ny(, nchannels)]

Format: bin, dat, tar.bz2, tif, mov

Description: Raw frame images with the dimensions [nframes, nx, ny(, nchannels)]. Note that depending on modality, multiple planes and channels may be stitched together and/or presented in a different order.

##### _ibl_rawImagingData.meta

Units: N/A

Type: string

Format: json

Description: Image meta-data listing the depths and dimensions of each field of view, acquisition parameters, channels, and the MLAP coordinates of the imaging window center.

##### referenceImage.raw

Collection: raw_imaging_data_XX/reference

Units: pixels

Type: uint8

Dimensions: [nframes, nx, ny(, nchannels)]

Format: tif

Description: A fullfield multiphoton imaging picture for use in histology alignment.

##### referenceImage.stack

Collection: raw_imaging_data_XX/reference

Units: pixels

Type: uint8

Dimensions: [nframes, nx, ny(, nchannels)]

Format: tif

Description: A stitched mean multiphoton imaging stack, containing X and Y resolution/size information in the tiff header. Used in histology alignment.

##### referenceImage.meta

Collection: raw_imaging_data_XX/reference

Units: N/A

Type: string

Format: json

Description: Stack image meta-data listing the depth in microns of each slice in the stack, and ML and AP coordinates of the center.

#### Imaging Data (widefield, photometry, etc.)

imaging.times

Units: seconds

Type: float64

Dimensions: [nframes,]

Format: npy

Collection: alf/widefield, etc.

Description: The times of frame acquisition.

imaging.imagingLightSource

Units: index

Type: int32

Dimensions: [nframes,]

Format: npy

Description: Integer representing which channel was acquired for each frame. 0 channel indicates no light.

imagingLightSource.properties

Units: nm

Type: int32

Dimensions: [nLightSources,]

Format: htsv

Description: A map of channel number, colour and wavelength. NB: This is the light source wavelength, not the photosensor channel / emitted wavelength.

#### Widefield Data

widefieldEvents.raw

Units: N/A

Type: float

Dimensions: [nFrames, n]

Format: camlog

Collection: raw_widefield_data

Description: The output of the Camlog software used to collect widefield images. Contains frame times and LED number for each frame.

widefieldU.mask

Units: binary

Type: int32

Dimensions: [nH, nW]

Format: npy

Collection: raw_widefield_data

Description: User selected mask to restrict pixels in imaging.frames before applying preprocessing

widefieldChannels.wiring

Units: N/A

Type: text

Dimensions: [nLED, 2]

Format: json

Description: A map of LED wiring number to wavelength. Wiring number matches those in XXX column of widefieldEvents.raw.camlog

widefieldU.images

Units: pixels

Type: float

Dimensions: [nW, nH, nComponents]

Format: npy

Collection: alf/widefield

Description: Projected SVD spatial components (denoised/decomposed) where nW and nH are the dimensions of a single frame.

widefieldSVT.uncorrected

Units: pixels

Type: float

Dimensions: [nComponents, nFrames]

Format: npy

Collection: alf/widefield

Description: SVD temporal components (denoised/decomposed) of data.

widefieldSVT.haemoCorrected

Units: pixels

Type: float

Dimensions: [nComponents, nFrames / 2]

Format: npy

Collection: alf/widefield

Description: Haemodynamic corrected SVD temporal components of data.

widefieldChannels.frameAverage

Units: pixels

Type: float

Dimensions: [nLED, nW, nH]

Format: npy

Collection: alf/widefield

Description: Average image across each frame for each LED channel used in imaging.

widefieldLandmarks.dorsalCortex

Units: N/A

Type: text

Dimensions: N/A

Format: json

Collection: alf/widefield

Description: User selected landmarks and transform for widefield imaging to allow images to be transformed and aligned to Allen Atlas

subjectWidefieldU.mask_atlasTransformed

Units: binary

Type: int32

Dimensions: [nW, nH]

Format: npy

Collection: aggregates/Subjects/{lab}/{Subject}/

Description: User selected mask to apply to processed atlas transformed widefeild images. One mask per subject.

#### Photometry Data

_neurophotometrics_fpData.raw

Units: various

Type: various

Dimensions: [nFrames, n]

Format: pqt

Collection: raw_photometry_data

Description: Raw photometry data dataframe containing fluorescence data for every active channel (max: isosbestic, red and green) as well as information of coactive components with each frame (E.g TTL syncing pulse). This dataframe is a straight conversion of the neurophotometrics CSV file output by Bonsai to parquet, and versions change according to the bonsai workflow version used.

photometry.signal

Units: various

Type: various

Dimensions: [nFrames, n]

Format: pqt

Collection: alf/photometry

Description: A table containing photometry data for all photometry ROIS in a single session, one row per imaging frame. Columns include Region0G, Region1G … , the raw data from the individual regions. Times, the time of each frame. Wavelength and name, which describe the LED used to collect each frame. Include, a mask indicating which frames should be used in analysis.

photometryROI.locations

Units: various

Type: various

Dimensions: [nROI, n]

Format: pqt

Collection: alf/photometry

Description: Look up table from photometry ROI, to fiber name registered in the database and Allen brain location